A60 LED BULB

ITEM NO:VT-1853; WATTS:10W

| Item No: | VT-1853 |
| --- | --- |
| SKU Codes | 4209:3000K |
| Type | A60 |
| Base | E27 |
| Real Watts | 10W |
| EQ. Watts | 60W |
| Voltage | 100-240V |
| Input Frequency | 50/60Hz |
| Input Current | 60ma |
| Input Efficiency | 80lm/w |
| Lumen(lm) | 806lm |
| PF | >0.7 |
| CRI | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 200’D |
| LED Chip | SMD 2835 |
| LED Qty | 24 |
| Driver | Non Isolated Constant Current Power |
| Protection Class | IP20 |
| Body Material | Plastic |
| Dimmable | No |
| Unit size | 60*108mm |
| Life Time | 20000hrs |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |

Instruction Manual：

Installing please following below steps:

- Please note to cut off the power supply before replacing the lamp to prevent electric shock or lamp burning, choose to install to correspondingly lampholders

- When try to tighten or take off the bulb, please clench radiator body by finger as shown below :

- When need to take off the bulb ,please wait 20minutes after turning off,so as not to burn your fingers