PRISMATIC FITTING

ITEM NO: VT-8020; WATTS: 20W

| Item No: | VT-8020 |
| --- | --- |
| SKU Code | 4991:4500K |
| Real Watts | 20W |
| EQ. Watts | 100W |
| Voltage | AC:200~240V |
| Input Frequency | 50Hz |
| Input Efficiency | 80lm/w |
| Lumen(lm) | 1600lm |
| PF | >0.9 |
| CRI | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 110’D |
| LED Chip | SMD |
| Protection Class | IP20 |
| Body Material | Aluminum+Plastic |
| Dimmable | No |
| Unit size | L:600x75x25mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |