E27 LED BULBS

ITEM NO:VT-2007;WATTS:7W

| Item No: | VT-2007 |
| --- | --- |
| SKU Code | 4377:4500K (Day White) |
| Type | A60 |
| Base | E27 |
| Real Watts | 7W |
| EQ. Watts | 40W |
| Voltage | 220-240V |
| Input Frequency | 50Hz |
| Input Efficiency | 67lm/w |
| Lumen(lm) | 470lm |
| PF | >0.5 |
| RA | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 200’D |
| LED Chip | SMD |
| Driver | Non Isolated Constant Current power |
| Protection Class | IP20 |
| Body Material | Thermal Plastic |
| Dimmable | No |
| Unit size | Φ60mm*108mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |