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E27 LED BULBS
ITEM NO:VT-2007;WATTS:7W
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	Item No:
	VT-2007

	SKU Code
	[bookmark: _GoBack]4377:4500K (Day White)

	Type
	A60

	Base
	E27

	Real Watts
	7W

	EQ. Watts
	40W

	Voltage
	220-240V

	Input Frequency
	50Hz

	Input Efficiency
	67lm/w

	Lumen(lm)
	470lm

	PF
	>0.5

	RA
	>80

	Color Temperature
	3000K,4500K,6000K

	Beam Angle
	200’D

	LED Chip
	SMD

	Driver
	Non Isolated Constant Current power

	Protection Class
	IP20

	Body Material
	Thermal Plastic

	Dimmable
	No

	Unit size
	Φ60mm*108mm

	Life Time
	20000hrs

	Operation Temperature
	-25 ~50’C

	Applicable Environment
	[bookmark: OLE_LINK3][bookmark: OLE_LINK4]Indoor Lighting, Used in Home down light, Stairwell lighting.
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