ITEM NO:VT-1864;WATTS:12W

| Item No: | VT-1864 |
| --- | --- |
| SKU Codes | 4229:4500K |
| Base | E27 |
| Real Watts | 12W |
| EQ. Watts | 75W |
| Voltage | 100~240V |
| Input Frequency | 50/60Hz |
| Input Current | 72ma |
| Input Efficiency | 87lm/w |
| Lumen(lm) | 1055lm/w |
| PF | >0.5 |
| CRI | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 200’D |
| LED Chip | SMD 2835 |
| LED Qty | 27 |
| Driver | Constant current non-isolated driver |
| Protection Class | IP20 |
| Body Material | Plastic |
| Dimmable | No |
| Unit size | 60mmx118mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |

Color Temperature:2700K                    Color Temperature:4000K

Color Temperature:6500K

Instruction Manual：

Installing please following below steps:

- Please note to cut off the power supply before replacing the lamp to prevent electric shock or lamp burning, choose to install to correspondingly lampholders

- When try to tighten or take off the bulb, please clench radiator body by finger as shown below :

- When need to take off the bulb ,please wait 20minutes after turning off,so as not to burn your fingers